## Welcome
โดย อจ. สมเกียรติ ฟุ้งเกียรติ
วิทยากร สมาคมส่งเสริมเทคโนโลยี
www.ExcelExpertTraining.com
Excel@XLSiam.com
Excel@ExcelExpertTraining.com
สงวนลิขสิทธิ์ตามกฎหมาย

## Output
Certificate No. |  | Uncertainty Budget for Oscilloscope | [8 empty] | Certificate No. | A003
Case No. | 3 | For model xBFc3
|  | Range: | 5 | mV | Calculated at |  | 5 | mV
|  | Symbol | Source of Uncertainty |  |  |  | Value | Prob. | Divisor | ci | Ui ( ) | v eff
[7 empty] | mV | Dist. |  |  | mV
| Case No. | ub1 | Accuracy of STD |  | 0.25 | %rdg. | 0.0135 | R | �3 | 1 | 0.0077942 | �
From | 1 | ub2 | Resolution of UUT |  | 1 | mV | 0.5 | R | �3 | 1 | 0.28868 | �
To | 5
|  | ua | Repeatability |  | 0 |  | 0 | N | 1 | 1 | 0 | 4
|  | uc ( ) | Combined Uncertainty |  |  |  |  | normal |  |  | 0.28878 | �
|  | U | Expanded Uncertainty |  |  |  |  | k = | 2 |  | 0.57756 | �
[10 empty] | � | 0.57756 | mV
|  | Note : | xxxx
|  |  | Calibrated by : | Tom |  |  |  |  | Certified by : | Jerry
|  |  | Date : | 2026-07-29 |  |  |  |  | Date : | 2026-07-29
Print

## Input
Certificate No. | A003 | 1 | A001 | A002 | A003 | A004 | A005 | A006 | A007 | A008 | A009 | A010 | Certificate No. | A001
Uncertainty Budget for | Oscilloscope | 2 | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope | Oscilloscope |  | A002
For model | xBFc3 | 3 | xBFc1 | xBFc2 | xBFc3 | xBFc4 | xBFc5 | xBFc6 | xBFc7 | xBFc8 | xBFc9 | xBFc10 |  | A003
Unit | mV | 4 | mV | mV | mV | mV | mS | mS | s | s |  |  |  | A004
Range | 5 | 5 | 1 | 2 | 5 | 10 | 0.2 | 0.5 | 1 | 2 |  |  |  | A005
Calculated at | 5 | 6 | 1 | 2 | 5 | 10 | 0.2 | 0.5 | 1 | 2 |  |  |  | A006
ub1 | xBFc3: 0; 3: 7; xBFc5: 0.0154; xBFc6: 0.0385; xBFc7: 0.077; xBFc8: 0.154 |  | A007
%rdg. | xBFc3: 0.25; 3: 8; xBFc1: 0.25; xBFc2: 0.25; xBFc3: 0.25; xBFc4: 0.25 |  | A008
Prob. Dist. Ub1 | R | 9 | R | R | R | R | R | R | R | R | R | R |  | A009
ub2 | 1 | 10 | 0.2 | 0.4 | 1 | 2 | 0.04 | 0.1 | 0.2 | 0.4 |  |  |  | A010
Prob. Dist. Ub2 | R | 11 | R | R | R | R | R | R | R | R | R | R
ua | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No. of Samples | 5 | 13 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Prob. Dist. Ua | N | 14 | N | N | N | N | N | N | N | N
K | 2 | 15 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Note 1 | xBFc3: xxxx; 3: 16; xBFc1: xxxx; xBFc3: xxxx; xBFc5: xxxx; xBFc7: xxxx
Calibrated by | Tom | 17 | James Bond | Robin Hood | Tom | Peter | Sherlock | Sun | SFK | Kamrai
Cb Date | 2026-07-29 | 18 | 2001-07-03 | 2001-07-03 | 2026-07-29 | 2026-07-29 | 2026-07-29 | 2026-07-29 | 2026-07-29 | 2026-07-29
Certified by | Jerry | 19 | 007 | Sherwood | Jerry | Pann | Holm | Moon | PS | Thakorn
Ct Date | 2026-07-29 | 20 | 2001-07-03 | 2001-07-03 | 2026-07-29 | 2026-07-29 | 2026-07-29 | 2026-07-29 | 2026-07-29 | 2026-07-29